

**15,000-Gallon Storage Vessel**

**Rocky Mount, NC**

**VESSEL SPECIFICATIONS**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Manufacturer** | **Year** | **Capacity**  **(Liquid Gallons)** | **PSI** | **Serial Number National/ Board Number** |
| Dallas | 1947 | 15,000 | U69-200 | SG-911/ NA |

The vessel listed is ASME certified and was manufactured by Dallas. This is a steel vessel with hemispherical heads.



