

**30,000-Gallon Storage Vessel**

**Rocky Mount, NC**

**VESSEL SPECIFICATIONS**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Manufacturer** | **Year** | **Capacity** | **PSI** | **Serial Number / National Board Number** |
| Trinity | 1975 | 30,000 UG | 250 | 607486/ 76149 |

The vessel listed is ASME certified and was manufactured by Trinity Industries, Inc. This Underground steel vessel is 109-inches in diameter and 66-foot in length. Its shell thickness is ..6733” and the hemispherical heads are .4375” thick.





