30,000-Gallon Storage Vessel

Sikeston, MO

VESSEL SPECIFICATIONS

| Manufacturer | Year | Capacity (Liquid Gallons) | PSI (@ 125 °F max.) | Serial Number/ National Board Number |
| --- | --- | --- | --- | --- |
| Riley- Beaird | 1987 | 30,000 | 250 | 123446-01-1 / 55237 |

The vessel listed is ASME certified and was manufactured by Riley- Beaird, Inc.  It has a National Board number with a U-1A data sheet.  Its shell sections and hemispherical heads are constructed of SA-612 steel.  The vessel is 66-foot in length and 9-foot in diameter.