30,000-Gallon Storage Vessel

Rocky Mount, NC

VESSEL SPECIFICATIONS

| Manufacturer | Year | Capacity | PSI | Serial Number/ National Board Number |
| --- | --- | --- | --- | --- |
| Delta | 1957 | 30,000 | 250 | 240302/ 26227 |

The vessel listed is ASME certified and was manufactured by Delta. It has a National Board number with a U-1A data sheet. This steel vessel is 108” in diameter and 68-foot in length with hemispherical heads. The heads are 7/16” thick made from CSE 1056-4 and the shell is 13/16” thick made from A-212 grade steel.