30,000-Gallon Storage Vessel

Vineland, NJ

VESSEL SPECIFICATIONS

| Manufacturer | Year | Capacity (Liquid Gallons) | PSI (@ 125 °F max.) | National Board Number / Serial Number |
| --- | --- | --- | --- | --- |
| Trinity | 1995 | 30,000 | 250 | 121677 / 82960 |

The vessel listed is ASME certified and was manufactured by Trinity Industries.  It has a National Board number with a U-1A data sheet.   This steel vessel is 109- inches in diameter and 66- foot in length. Its shell sections are .437” thick and made from SA-612 steel. Its hemispherical heads are .437” thick and constructed of SA-455 steel.