30,000-Gallon Storage Vessel

Rocky Mount, NC

VESSEL SPECIFICATIONS

| Manufacturer | Year | Capacity | PSI | Serial Number / National Board Number |
| --- | --- | --- | --- | --- |
| Bethlehem Steel | 1946 | 30,000 | U69-200 | 251/ 88 |

The vessel listed is ASME certified and was manufactured by Bethlehem Steel. It has a National Board number with a U-1A data sheet. Its shell sections and elliptical heads are constructed of SA-212 Grade B steel. This steel vessel is 112-inches in diameter and approximately 61-foot in length.