7,100-Gallon Storage Vessel

Rocky Mount, NC

VESSEL SPECIFICATIONS

| Manufacturer | Year | Capacity (Liquid Gallons) | PSI | Serial Number/ National Board Number |
| --- | --- | --- | --- | --- |
| Mississippi | 1955 | 7,100 | 250 | 22833/ NA |

The vessel listed is ASME certified and was manufactured by Mississippi Tank Co.  This steel vessel is 42-foot and 6 inches in length with elliptical heads.